Wayne County is seeking bids for a 30 X 40 metal building for a Fire Station.

Specifications: 14-foot eave height

 Insulation in roof and walls

 (1) 14 x 12 roll door

 (1) 12 x 12 roll door

 5 ½ inch concrete 3” floor drain

 Galvalume roof

 Colored walls and trim

Bids must be submitted before 3:00 p.m., Monday, April 24, 2023. Bids will be awarded at the Commissioners Meeting on Monday, May 1, 2023. Bids may be taken to the Commissioner’s Office at 341 East Walnut Street, Attention: Amanda Hannah, envelopes must be marked Metal Building. Wayne County reserves the right to refuse any bid submitted. If you have any questions, you can contact Amanda Hannah at (912) 427-5900.